SUPPLEMENTAL MATERIALS for

"A Deep Learning Framework for Investigating and Addressing Intra-Patient Seizure Heterogeneity via EEG Fingerprinting and Explainable AI"

TABLE S1: Detailed LOSO Cross-Validation Results by Patient and Fold

This table presents comprehensive fold-by-fold performance metrics for all patients in the study. Each row represents a single validation fold where one seizure event was held out for testing while the model was trained on the remaining seizure events. The "Ablation Status" indicates whether the fold was retained or removed during the performance-based ablation study.

| Patient | Fold | Seizure Event | Sensitivity | Specificity | F1-Score | AUC | Ablation Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CHB01 | 1 | chb01_03 | 0.960 | 0.820 | 0.804 | 0.961 | Kept |
| CHB01 | 2 | chb01_04 | 0.936 | 1.000 | 0.980 | 0.997 | Kept |
| CHB01 | 3 | chb01_15 | 1.000 | 0.980 | 0.974 | 1.000 | Kept |
| CHB01 | 4 | chb01_16 | 0.000 | 1.000 | 0.468 | 0.792 | Kept |
| CHB01 | 5 | chb01_18 | 0.000 | 1.000 | 0.448 | 0.995 | Removed |
| CHB01 | 6 | chb01_21 | 1.000 | 0.844 | 0.639 | 0.977 | Kept |
| CHB01 | 7 | chb01_26 | 0.802 | 0.730 | 0.731 | 0.884 | Kept |
| CHB03 | 1 | chb03_01 | 0.000 | 1.000 | 0.489 | 0.919 | Removed |
| CHB03 | 2 | chb03_02 | 0.000 | 1.000 | 0.477 | 0.896 | Removed |
| CHB03 | 3 | chb03_03 | 0.000 | 0.956 | 0.446 | 0.915 | Kept |
| CHB03 | 4 | chb03_04 | 0.237 | 1.000 | 0.594 | 0.995 | Kept |
| CHB03 | 5 | chb03_34 | 1.000 | 1.000 | 1.000 | 1.000 | Kept |
| CHB03 | 6 | chb03_35 | 0.997 | 0.849 | 0.912 | 0.998 | Kept |
| CHB03 | 7 | chb03_36 | 0.893 | 1.000 | 0.965 | 1.000 | Kept |
| CHB06 | 1 | chb06_01_s1 | 1.000 | 0.979 | 0.850 | 0.999 | Kept |
| CHB06 | 2 | chb06_01_s2 | 0.003 | 1.000 | 0.006 | 0.998 | Kept |
| CHB06 | 3 | chb06_01_s3 | 1.000 | 0.990 | 0.926 | 1.000 | Kept |
| CHB06 | 4 | chb06_04_s1 | 0.000 | 1.000 | 0.000 | 0.877 | Removed |
| CHB06 | 5 | chb06_04_s2 | 0.883 | 0.992 | 0.879 | 0.941 | Kept |
| CHB06 | 6 | chb06_09_s1 | 0.000 | 1.000 | 0.000 | 0.811 | Kept |
| CHB06 | 7 | chb06_10_s1 | 0.802 | 1.000 | 0.890 | 1.000 | Kept |
| CHB06 | 8 | chb06_13_s1 | 0.000 | 1.000 | 0.000 | 0.811 | Removed |
| CHB06 | 9 | chb06_18_s1 | 0.000 | 1.000 | 0.000 | 0.994 | Removed |
| CHB06 | 10 | chb06_24_s1 | 0.986 | 0.902 | 0.548 | 0.992 | Kept |
| CHB07 | 1 | chb07_12 | 0.994 | 0.987 | 0.909 | 0.999 | Kept |
| CHB07 | 2 | chb07_13 | 1.000 | 0.999 | 0.993 | 1.000 | Kept |
| CHB07 | 3 | chb07_19 | 0.931 | 0.962 | 0.887 | 0.961 | Kept |
| CHB08 | 1 | chb08_02 | 1.000 | 0.999 | 0.999 | 1.000 | Kept |
| CHB08 | 2 | chb08_05 | 1.000 | 0.998 | 0.997 | 1.000 | Kept |
| CHB08 | 3 | chb08_11 | 0.524 | 0.815 | 0.652 | 0.763 | Removed |
| CHB08 | 4 | chb08_13 | 0.974 | 0.571 | 0.623 | 0.916 | Kept |
| CHB08 | 5 | chb08_21 | 1.000 | 0.586 | 0.640 | 0.900 | Kept |
| CHB10 | 1 | chb10_12 | 0.799 | 0.608 | 0.532 | 0.730 | Kept |
| CHB10 | 2 | chb10_20 | 0.625 | 0.936 | 0.763 | 0.927 | Kept |
| CHB10 | 3 | chb10_27 | 0.799 | 0.978 | 0.892 | 0.976 | Kept |
| CHB10 | 4 | chb10_30 | 0.178 | 0.938 | 0.566 | 0.868 | Removed |
| CHB10 | 5 | chb10_31 | 0.381 | 1.000 | 0.758 | 0.981 | Removed |
| CHB10 | 6 | chb10_38 | 0.997 | 0.941 | 0.886 | 0.995 | Kept |
| CHB10 | 7 | chb10_89 | 0.955 | 0.567 | 0.505 | 0.933 | Kept |
| CHB15 | 1 | chb15_06_s1 | 1.000 | 1.000 | 0.211 | 1.000 | Kept |
| CHB15 | 2 | chb15_10_s1 | 0.894 | 0.499 | 0.453 | 0.999 | Kept |
| CHB15 | 3 | chb15_15_s1 | 1.000 | 0.790 | 0.404 | 0.987 | Kept |
| CHB15 | 4 | chb15_17_s1 | 0.000 | 1.000 | 0.000 | 0.456 | Removed |
| CHB15 | 5 | chb15_20_s1 | 0.414 | 0.924 | 0.346 | 0.998 | Kept |
| CHB15 | 6 | chb15_22_s1 | 0.000 | 1.000 | 0.000 | 0.569 | Removed |
| CHB15 | 7 | chb15_28_s1 | 0.903 | 0.997 | 0.934 | 0.999 | Kept |
| CHB15 | 8 | chb15_31_s1 | 0.000 | 1.000 | 0.000 | 0.871 | Removed |
| CHB15 | 9 | chb15_40_s1 | 0.938 | 0.911 | 0.688 | 1.000 | Kept |
| CHB15 | 10 | chb15_40_s2 | 0.959 | 0.849 | 0.710 | 0.998 | Kept |
| CHB15 | 11 | chb15_40_s3 | 0.852 | 0.913 | 0.651 | 1.000 | Kept |
| CHB15 | 12 | chb15_46_s1 | 0.000 | 1.000 | 0.000 | 0.713 | Removed |
| CHB15 | 13 | chb15_49_s1 | 0.000 | 1.000 | 0.000 | 0.984 | Removed |
| CHB15 | 14 | chb15_52_s1 | 1.000 | 0.999 | 0.997 | 1.000 | Kept |
| CHB15 | 15 | chb15_54_s1 | 0.000 | 1.000 | 0.000 | 0.494 | Kept |
| CHB15 | 16 | chb15_54_s2 | 0.626 | 0.576 | 0.162 | 0.988 | Kept |
| CHB15 | 17 | chb15_54_s3 | 0.000 | 1.000 | 0.000 | 0.577 | Removed |
| CHB15 | 18 | chb15_54_s4 | 0.000 | 1.000 | 0.000 | 0.805 | Removed |
| CHB15 | 19 | chb15_54_s5 | 0.000 | 1.000 | 0.000 | 0.302 | Kept |
| CHB15 | 20 | chb15_62_s1 | 1.000 | 1.000 | 0.956 | 0.986 | Kept |
| CHB16 | 1 | chb16_10_s1 | 1.000 | 0.954 | 0.781 | 0.987 | Kept |
| CHB16 | 2 | chb16_11_s1 | 0.981 | 0.962 | 0.716 | 0.992 | Kept |
| CHB16 | 3 | chb16_14_s1 | 0.069 | 0.840 | 0.045 | 0.453 | Removed |
| CHB16 | 4 | chb16_16_s1 | 0.767 | 0.950 | 0.571 | 0.965 | Kept |
| CHB16 | 5 | chb16_17_s1 | 0.900 | 0.999 | 0.878 | 0.999 | Kept |
| CHB16 | 6 | chb16_17_s2 | 0.954 | 0.992 | 0.922 | 0.996 | Kept |
| CHB16 | 7 | chb16_17_s3 | 0.874 | 0.998 | 0.879 | 0.999 | Kept |
| CHB16 | 8 | chb16_17_s4 | 0.799 | 0.996 | 0.853 | 0.995 | Kept |
| CHB16 | 9 | chb16_18_s1 | 1.000 | 0.831 | 0.248 | 0.978 | Kept |
| CHB16 | 10 | chb16_18_s2 | 0.902 | 0.857 | 0.409 | 0.925 | Kept |
| CHB20 | 1 | chb20_12_s1 | 0.000 | 1.000 | 0.000 | 0.959 | Removed |
| CHB20 | 2 | chb20_13_s1 | 0.880 | 0.885 | 0.558 | 0.933 | Kept |
| CHB20 | 3 | chb20_13_s2 | 0.836 | 1.000 | 0.911 | 0.967 | Kept |
| CHB20 | 4 | chb20_14_s1 | 0.983 | 0.835 | 0.490 | 0.908 | Kept |
| CHB20 | 5 | chb20_15_s1 | 0.973 | 1.000 | 0.986 | 1.000 | Kept |
| CHB20 | 6 | chb20_15_s2 | 0.901 | 1.000 | 0.946 | 0.986 | Kept |
| CHB20 | 7 | chb20_16_s1 | 0.997 | 1.000 | 0.997 | 1.000 | Kept |
| CHB20 | 8 | chb20_68_s1 | 0.478 | 0.985 | 0.421 | 0.935 | Removed |
| CHB22 | 1 | chb22_20 | 1.000 | 0.985 | 0.969 | 1.000 | Kept |
| CHB22 | 2 | chb22_25 | 0.814 | 0.976 | 0.841 | 0.974 | Kept |
| CHB22 | 3 | chb22_38 | 0.992 | 1.000 | 0.996 | 1.000 | Kept |